Specifications text

Article number

202664

Type

ET1500CW

Short description

Ethernet, PoE Extender, Coax, for Etherstretch Switches, 1 Port, Extension 500m, Outdoor

Main Features

Ethernet and PoE extender

Extension by 500 meters via coax

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Supports 10/100 and PoE over coax

LED signal and status indicators

Easy to install

Outdoor rated

Other Features (Specifications)

| Type | PoE extender |
| --- | --- |
| Ports | 1 |
| Gigabit | no |
| Output power | 15,4W, 22.8W |
| Extension | 500 m |
| PoE output | IEEE802.3af, IEEE802.3at |
| Operating temperature | -15°C ~ +60°C |
| Manufacturer order number | ET1500C-W1 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services