Specifications text

Article number

205486

Type

ER8400U

Short description

Ethernet, PoE Extender, UTP, 8 Ports, Gigabit, PoE+, Wall Mounting, Extension of 600m

Main Features

Transmits IP data & PoE up to distances of 600 metres

Rack mounted 8 channel Etherstretch solution

Supports IEEE802.3af, IEEE802.3at

Includes a built-in power source for all devices

Gigabit output network connectivity

Supports 10/100 and PoE over UTP cable

Short circuit, over current, over voltage protection

Supports mega-pixel technology

Supports any network device, including IP cameras

Easy to install, no set up required

No MAC or IP addressing required

Variable power input. 100-240VAC

Other Features (Specifications)

| Type | Layer2 switch, PoE extender |
| --- | --- |
| Ports | 8x 10/100Base-TX |
| Gigabit | yes |
| Output power | 204W |
| Input power | 320W |
| Extension | 600 m |
| PoE output | PoE (IEEE802.3af), PoE+ (IEEE802.3at) |
| Operating temperature | 0°C ~ +50°C |
| Certifications | UL |
| Manufacturer order number | ER8400U |
| Brand | Nitek |

Additional Productinformation

Related products

| ET1500C | Ethernet, PoE Extender, Coax, for Etherstretch Switches, 1 Port, Extension of 500m |
| --- | --- |

Recommendations

Services