Specifications text

Article number

202665

Type

ET1500U

Short description

Ethernet, PoE Extender, UTP, for Etherstretch Switches, 1 Port, Extension of 600m

Main Features

Ethernet and PoE extender

Extension by 600 meters via UTP

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Supports 10/100 and PoE over coax

LED signal and status indicators

Easy to install

Other Features (Specifications)

| Cisco Legacy | No |
| --- | --- |
| Extension | 600 m |
| Type | PoE Extender |
| Gigabit Support | No |
| Manufacturer order number | ET1500U |
| PoE Detection | No |
| PoE Standard | IEEE802.3af, IEEE802.3at |
| Ports | 1 |
| Rack installation | No |
| Temperature Range (Operating) | -15°C ~ +60°C |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services