Specifications text

Article number

202659

Type

EL1500CW

Short description

Ethernet, PoE Extender, Coax, 1 Port, Extension of 500m, Outdoor

Main Features

Ethernet and POE extender

Supports any network device, including IP cameras

Supports megapixel cameras

Extension by 500 meters via coax cable or UTP

Outdoor rated

Fully transparent to the network

LED status indicators

Easy to install

Other Features (Specifications)

| Type | Sender/Empfänger |
| --- | --- |
| Series | Ethernet Extender, PoE Extender |
| Mounting | ceiling mount, desktop, wall mount |
| Transmission medium | Coax |
| Ports | 1x 10/100Base-TX, 1x coax/BNC |
| PoE ports (number) | 1 |
| Model | housing |
| Wavelength | n/a |
| Range | 500 m |
| Supply voltage | PoE |
| Operating temperature | -15°C ~ +60°C |
| Protection rating | n/a |
| Operation mode | n/a |
| Manufacturer order number | EL1500C-W1 |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services