Specifications text

Article number

215654

Type

ET1543C

Short description

Ethernet, PoE Extender, Coax, 1 port, w/o PSU connector ohne ext. Netzgeräteanschluss

Main Features

Ethernet and PoE extender

Extension by 500 meters via coax

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Supports 10/100 and PoE over coax

LED signal and status indicators

Easy to install

Ohne externen Netzgeräteanschluss

Other Features (Specifications)

| Type | PoE extender |
| --- | --- |
| Ports | 1 |
| Gigabit | no |
| Extension | 500 m |
| Operating temperature | -40°C ~ +75°C |
| Certifications | NEMA TS-2, UL |
| Manufacturer order number | ET1543C |
| Brand | Nitek |

Additional Productinformation

Related products

Recommendations

Services