Specifications text

Article number

216479

Type

SFP-0850M10

Short description

SFP Modul, 1.25Gbps, 550m, Multimode, 850nm, Duplex LC Connector, 0°~+70°C

Main Features

Compatible to IEEE802.3z Gigabit Ethernet Standard

Bandwith 1,25Gbps

Industry standard small form pluggable (SFP) package

Duplex LC connector, 850nm

Differential LVPECL inputs and outputs

Single power supply 3.3V

Hot Pluggable

Class 1 laser product complies with EN 60825-1

Distance 50/125 µm MMF 550m

Other Features (Specifications)

| Type | SFP-Modul |
| --- | --- |
| Fiber optic connector | Duplex LC |
| Transmission medium | optical fiber |
| Model | module |
| Operation mode | multi mode |
| Number of fibers | 2 |
| Wavelength | 850nm |
| Range | 550 m |
| Operating temperature | 0°C ~ +70°C |
| Weight | 17g |
| Manufacturer order number | 216479 |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services