Specifications text

Article number

202116

Type

ER8500C

Short description

Ethernet, PoE Extender, Coax, 8 Ports, Gigibit, PoE+, Extension of 500m

Main Features

8 port network extender

Gigabit PoE switch

Supports IEEE802.3af, IEEE802.3at

Includes a built-in power source for all devices

Power, transmission for IP devices via coaxial cable

Rack mounted

Short circuit, over current and over voltage protection

Built-in Ethernet, PoE surge protection

Variable power input 100-240V

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Type | Layer2 switch, PoE extender |
| Ports | 8x 10/100Base-TX |
| PoE ports (number) | 8 |
| Gigabit | yes |
| Output power | 15,4W, 25.5W |
| Extension | 500 m |
| Model | 19" Rack |
| PoE output | IEEE802.3af, IEEE802.3at |
| Manufacturer order number | ER8500C |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services