Specifications text

Article number

213264

Type

IAM-4PE1001M0A

Short description

Surge Protection for PoE, RJ45, 10/100 Base-T

Main Features

Protects equipment from high voltage surges and lightning strikes

RJ45 to RJ45

Power and signal line protection

10/100 Base-T CAT5/CAT5e compatible

Support Midspan PoE and Endspan PoE

PoE 802.3af and 802.3at PoE compatible

Maximum Surge Voltage - 4kV

Other Features (Specifications)

| Dimensions (WxHxD) (extended) | 25,4x25,4x88,8mm |
| --- | --- |
| Scope of delivery | manual,mounting accessories |
| LED status indicator | No |
| Manufacturer order number | 213264 |
| Vibration sensor | No |
| Series | eneo Switch |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services