Specifications text

Article number

213264

Type

IAM-4PE1001M0A

Short description

Surge Protection for PoE, RJ45, 10/100 Base-T

Main Features

Protects equipment from high voltage surges and lightning strikes

RJ45 to RJ45

Power and signal line protection

10/100 Base-T CAT5/CAT5e compatible

Support Midspan PoE and Endspan PoE

PoE 802.3af and 802.3at PoE compatible

Maximum Surge Voltage - 4kV

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | 25.4x25.4x88.8mm |
| Series | eneo Switch |
| Housing | Metal |
| Color | anthracite |
| Weight | 80g |
| Network connection | RJ-45 |
| Manufacturer order number | 213264 |

Additional Productinformation

Related products

Recommendations

Services