Specifications text

Article number

204017

Type

AP540

Short description

Accessory Pack includes ligtning arrestor and 3m RG59 cable w/connectors

Main Features

Cable assembly for peak performance up to 6GHz

Surge protector (lightning arrestor) provides safety

Protects wireless equipment from lightning strikes

Protects from electrical induction

Other Features (Specifications)

| Manufacturer order number | AP540 |
| --- | --- |
| Brand | Nitek |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services