Specifications text

Article number

205487

Type

CX254

Short description

Modular Card Cage for 19" Rack for 5x UTP Link Modules, incl. PSU 110-230V, 1RU

Main Features

Integrated UTPLinks? modular card cage & 10A PSU

Flexible design

Any combination of cards can be used in the 5 slots

Additional cards can be added for future expansion

Modular cards are hot swappable

RJ-45 connectors for connection to backbone cabling

Compatible with TIA/EIA 568A or 568B

Kompatibel mit TIA/EIA 568A oder 568B Belegung

Other Features (Specifications)

| Power consumption | 600W max. |
| --- | --- |
| Manufacturer order number | CX254 |
| Brand | Nitek |

Additional Productinformation

Related products

| CHM22 | 4 Channel Crossover, Power Insertion, Data Distribution and Video Card |
| --- | --- |
| CXM22 | 4 Channel Crossover, Power Insertion, Data Distribution Card |
| FAN64 | Cooling Fan for use with POE4 Cards |

Recommendations

Services