Specifications text



Article number
219420

Type
eneo ITB-7SF0075M0A

Short description
Thermal Network Camera, 7,5mm, 45°, 336x256, 25Hz, Audio, Composite, PoE, IP67

Main Features
Thermal camera with Ethernet and Composite Video out
Resolution 336x256 Pixel, 25 Hz
7.5mm lens,45° viewing angle
Easy handling, USB remote interface
Alarm output contact triggers by temperature measurement
Simultaneously H.264 & MJPEG (Triple streaming)
Cross Web Browsing (IE, Safari, Firefox, Chrome)
VerticalView 90°/270°, Audio
Responsive Web Design, Zero Configuration
HTLM5 playback, Slot for micro SD memory card
Easy installation, fixation via central screw
Flexible power supply 12VDC, 24VAC or PoE

Other Features (Specifications)
	General
	

	Housing type
	Outside

	 Product labeling:
	

	Manufacturer order number
	219420

	Brand
	eneo
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