Specifications text

Article number

209535

Type

Jetrics MCAB-3/30

Short description

Camera-/SN-Head Connection Cable, Video, Power, Control, Network, 30m

Main Features

For camera housing and P/T head connection

Very flexible cable

Data cable S/UTP (patch) 4x2xAWG26/7-PVC

Power supply: 3x 0.75mm²

Power supply approved for 230VAC

Video coax cable 0.6L/2.8,optimized for HD-SDI

Optimized for outdoor use (UV resistant)

Diameter 12,5mm

Other Features (Specifications)

| General |  |
| --- | --- |
| Temperature Range (Operating) | -20°C ~ +70°C |
| Product labeling: |  |
| Manufacturer order number | 209535 |
| Series | Customer Service MCAB-2 |
| Brand | Jetrics |

Additional Productinformation

Related products

Recommendations

Services