Specifications text

Article number

220521

Type

SOL-IQbox-budget/Hz

Short description

Camera junction box for video surveillance incl. heating, 400x300x150mm

Main Features

Optimised for outdoor use

With extended temperature range

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66,

Impact resistance IK 10, vandalism protected

Swivelling door

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 220521 |
| Vibration sensor | No |
| Series | Solvido IQbox |
| Power supply | 230VAC |
| Temperature Range (Operating) | -50°C ~ +70°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| --- | --- |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 |  |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services