Specifications text

Article number

215019

Type

Solvido SOL-IQbox-eco

Short description

Camera junction box for video surveillance with socket FI / LS, 400x300x150mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Including service socket, personal protection

Graduated prices on request

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -25°C ~ +55°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 215019 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

Recommendations

Services