Specifications text

Article number

221320

Type

SOL-IQbox-mini-B/Hz

Short description

Camera junction box for video surveillance, incl. heating, 300x200x150mm

Main Features

Optimised for outdoor use

With extended temperature range

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66,

Impact resistance IK 10, vandalism protected

Swivelling door

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Other Features (Specifications)

| Brand | Solvido |
| --- | --- |
| Series | Solvido IQbox |
| Housing | Outdoor |
| Color (housing) | RAL7035 |
| Hosuing material | Polycarbonate |
| Heater | yes |
| Dimension (lxwxd) | 300x200x150mm |
| Supply voltage | 230VAC |
| Operating temperature | -50°C ~ +70°C |
| Certifications | IK10 |
| Protection rating | IP66 |
| Manufacturer order number | 221320 |

Additional Productinformation

Related products

| SOL-WST-MB-20 | Mastbefestigung 20cm für SOL-IQbox-mini, Set (2St) |
| --- | --- |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services