Specifications text

Article number

220522

Type

SOL-IQbox-eco-B/Hz

Short description

Camera junction box for video surveillance with socket, FI/LS and heating

Main Features

Optimised for outdoor use

With extended temperature range

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66,

Impact resistance IK 10, vandalism protected

Swivelling door

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 220522 |
| Vibration sensor | No |
| Series | Solvido IQbox |
| Power supply | 230VAC |
| Temperature Range (Operating) | -50°C ~ +70°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| --- | --- |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 |  |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services