Specifications text

Article number

215020

Type

SOL-IQbox-plus

Short description

Camera junction box for video surveillance, lightning protection, 400x300x150mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Including service socket, personal protection

Lightning protection combination arrestor type

Graduated prices on request

Other Features (Specifications)

| Series | Solvido IQbox |
| --- | --- |
| Housing | Outdoor |
| Color (housing) | RAL7035 |
| Hosuing material | Polycarbonate |
| Heater | optional |
| Dimension (lxwxd) | 400x300x150mm |
| Supply voltage | 230VAC |
| Operating temperature | -25°C ~ +55°C |
| Certifications | IK10 |
| Protection rating | IP66 |
| Manufacturer order number | 215020 |
| Brand | Solvido |

Additional Productinformation

Related products

| jetassy-SBT12 | Spleißbox mit Telekom Spleißkassette für 12 Spleiße |
| --- | --- |
| MDR-100-12 | Netzteil 12VDC / 7,5A für Hutschienenmontage TS-35 |
| MDR-100-48 | Netzteil 48V / 2A für Hutschienenmontage TS-35 |
| MDR-20-12 | Netzteil 12VDC / 1,67A für Hutschienenmontage TS-35 |
| MDR-60-12 | Netzteil 12VDC / 5A für Hutschienenmontage TS-35 |
| MDR-60-48 | Netzteil 48VDC / 1,25A für Hutschienenmontage TS-35 |
| SOL-WST-HT | Heating and thermostat for CUS-WST and SOL-IQbox series 230V / 22W incl. installation |
| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| SOL-WST-PHZ1 | Profile half-cylinder for swivel lever handle, delivery with 2 keys |
| SOL-WST-SBL | Tightening strap long for SOL-WST-MB, CUS-WST, SOL-IQbox set 2pcs. 1.5m stainless steel |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services