Specifications text

Article number

215020

Type

Solvido SOL-IQbox-plus

Short description

Camera junction box for video surveillance, lightning protection, 400x300x150mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Including service socket, personal protection

Lightning protection combination arrestor type

Graduated prices on request

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -25°C ~ +55°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 215020 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

Recommendations

Services