Specifications text

Article number

211113

Type

Solvido SOL-WST-HT

Short description

Heating and thermostat for CUS-WST and SOL-IQbox series 230V / 22W incl. installation

Main Features

Power: 22 watts

Temperature limit (max 50°C on element)

Switch on at +5°C (tolerance 5°)

Switch off at +15°C (tolerance 5 °)

Insulation made of polyester

Other Features (Specifications)

| Product labeling: |  |
| --- | --- |
| Manufacturer order number | 211113 |
| Brand | Solvido |

Additional Productinformation

Related products

Recommendations

Services