Specifications text

Article number

218653

Type

PS12DC-11

Short description

Plug-in Power Supply Unit, 100-240VAC/12VDC (1,0A), regulated, with DC Plug

Main Features

Input voltage: 100-240VAC

Output: 12VDC/1A

Secondary cable with DC plug

Plastic housing

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 218653 |
| Vibration sensor | No |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services