Specifications text

Article number

204466

Type

VT-PS12DC-12

Short description

Power supply, for AK-4, 100-240VAC/12VDC (1,5A), stabilized, open ends

Main Features

Input voltage: 100-240VAC

Output: 12VDC/1.5A

15cm secondary cable with open ends

Plastic housing

Power supply for AK-4 camera junction box

Other Features (Specifications)

| Scope of delivery | PSU,4 x WAGO clamp |
| --- | --- |
| LED status indicator | No |
| Manufacturer order number | 204466 |
| Vibration sensor | No |
| Temperature Range (Operating) | 0°C ~ +50°C |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services