Specifications text

Article number

220399

Type

SOL-IQswitch-4PU-B

Short description

Camera junction box with 4-port unmanaged switch 4xPoE, 1xRJ45, 1xSFP 100Mbps

Main Features

Ready-to-use junction box solution

incl. SOL-IQbox-budget

incl. Switch IAM-5SE1004MUB

incl. Power supply DR-120-48

Electrically prewired and tested

Optimised for outdoor use

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Other Features (Specifications)

| Brand | Solvido |
| --- | --- |
| Manufacturer order number | 220399 |

Additional Productinformation

Related products

| SOL-WST-HT | Heating and thermostat for CUS-WST and SOL-IQbox series 230V / 22W incl. installation |
| --- | --- |
| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| SOL-WST-PHZ1 | Profile half-cylinder for swivel lever handle, delivery with 2 keys |
| SOL-WST-SBL | Tightening strap long for SOL-WST-MB, CUS-WST, SOL-IQbox set 2pcs. 1.5m stainless steel |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 | Erdungsset für Schlösser SOL-WST-SSK für IQbox -budget, -eco, -switch |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services