Specifications text

Article number

219802

Type

SOL-IQswitch-4PU-C

Short description

Camera junction box with 4-port unmanaged switch 4xPoE, 2xRJ45, 2xSFP 1000Mbps

Main Features

Ready-to-use junction box solution

incl. SOL-IQbox-budget

incl. Switch IAM-5SE1004MUC

incl. Power supply DR-120-48

Electrically prewired and tested

Optimised for outdoor use

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Other Features (Specifications)

| Manufacturer order number | 219802 |
| --- | --- |
| Series | Solvido IQbox |
| Power supply | 230VAC |
| Temperature Range (Operating) | -10°C ~ +55°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

Recommendations

Services