Specifications text

Article number

220523

Type

SOL-IQbox-plus/Hz

Short description

Camera junction box for Video surveillance, lightning protection, socket and heating

Main Features

Optimised for outdoor use

With extended temperature range

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66,

Impact resistance IK 10, vandalism protected

Swivelling door

Wall or mast mounted

Fast, easy installation

Lightning protection combination arrestor type

Other Features (Specifications)

| Manufacturer order number | 220523 |
| --- | --- |
| Brand | Solvido |

Additional Productinformation

Related products

| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| --- | --- |
| SOL-WST-PHZ1 | Profile half-cylinder for swivel lever handle, delivery with 2 keys |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services