Specifications text

Article number

215018

Type

SOL-IQbox-budget

Short description

Camera junction box for video surveillance, 400x300x150mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Graduated prices on request

Other Features (Specifications)

| Manufacturer order number | 215018 |
| --- | --- |
| Series | Solvido IQbox |
| Power supply | 230VAC |
| Temperature Range (Operating) | -25°C ~ +55°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

Recommendations

Services