Specifications text

Article number

209004

Type

MDR-100-48

Short description

Power Supply 48V / 2A

Main Features

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 209004 |
| Vibration sensor | No |
| Power supply | 85-264VAC |
| Temperature Range (Operating) | -10°C ~ +60°C |
| Brand | Jetrics |

Additional Productinformation

Related products

Recommendations

Services