Specifications text

Article number

216103

Type

MDR-100-24

Short description

Main Features

Other Features (Specifications)

| Manufacturer order number | 216103 |
| --- | --- |
| Power supply | 85-264VAC |
| Temperature Range (Operating) | -10°C ~ +60°C |
| Brand | Jetrics |

Related products

Recommendations

Services