Specifications text

Article number

211055

Type

jetrics MDR-60-12

Short description

Power Supply 12VDC / 5A for DIN rail mounting TS-35

Main Features

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 85-264VAC |
| Temperature Range (Operating) | -20°C ~ +70°C |
| Product labeling: |  |
| Manufacturer order number | 211055 |
| Series | Customer Service IQbox |
| Brand | Jetrics |

Additional Productinformation

Related products

Recommendations

Services