Specifications text

Article number

210300

Type

Jetrics MDR-100-12

Short description

Power Supply 12V / 7,5A for DIN rail mounting TS-35

Main Features

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 85-264VAC |
| Temperature Range (Operating) | -10°C ~ +60°C |
| Product labeling: |  |
| Manufacturer order number | 210300 |
| Brand | Jetrics |

Additional Productinformation

Related products

Recommendations

Services