Specifications text

Article number

219564

Type

SeeEyes SC-DPS1310P2

Short description

Power Supply, for 10 Cameras, 12VDC each, 2 Recorders/ Monitors, 230VAC each

Main Features

Power supply for up to 10 cameras, 12 VDC

13 V/0.5 A per port

Power supply for up to 2 recorders/monitors

Built-in diagnostic function

LED indicator per port

Other Features (Specifications)

| Product labeling: |  |
| --- | --- |
| Manufacturer order number | SC-DPS1310P2 |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services