Specifications text

Article number

221240

Type

MPP-62A0020M0A

Short description

1/2,8" HD Analogue Dome, PTZ, Day&Night, 20x, 4,7-94mm, 1920x1080, WDR, IP66

Main Features

1/2,8" Sony STARVIS CMOS-Sensor

20x Auto Focus Zoom, 4.7 ~ 94mm / 16x Digital

Resolution max. 1920x1080 (Full HD)

Separate outputs for HD signals and composite

Signal formats: HD-TVI, AHD selectable, composite

Real time WDR (Wide Dynamic Range) 25 / 30fps

Compact design for in- and outdoor applications

3D DNR noise reduction, auto-calibration

Protected areas, Defog function

Alarm inputs and outputs, 12VDC/24VAC, IK10, IP66

Other Features (Specifications)

| Manufacturer order number | 221240 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| DOME-WB2-W | Wall bracket for IED-63xx Metal series and IEP-63Mxx, MEP-62Mxx |
| --- | --- |
| EDMC/CWB-1-W | Wall or Pendant Mount Kit white, for Dome Camera Series MPP-72xx, IPP-72xx |
| HAH-1000 | Low Voltage Heater Kit 24V/10W for HDD-1012, NXD-2012, NLD-1422, TPP-62, IPP-62 |
| MAM-5DC1004M0A | Distributor, 1x BNC Input HD-TVI, CVI, AHD, CVBS, 4x BNC Output |
| MAM-5ME1001MTA | Multisignal Converter, HD-TVI , AHD, CVBS to IP, H.264, 1920x1080, 12VDC |
| MAM-5MM1001M0A | Converter, HD-CVI, HD-TVI, AHD, Composite to HDMI, VGA, Composite, Indoor |
| MAM-5MM2001M0A | Converter, 4K HD-TVI, HD-CVI, AHD, auf HDMI, Indoor |
| MAM-6ME1012MTA | Multisignal Converter, HD-TVI , AHD, CVBS to IP, H.264, 1920x1080, 12-Channel |
| TVA-1201TRA | UTP Transmitter+Receiver, UTP, BNC, 250m, Indoor, HD TVI CVI, AHD, CVBS, Active, 12V |
| TVA-1201TRP | UTP Transmitter+Receiver, UTP, BNC, 150m, Indoor, HD TVI CVI, AHD, CVBS, Passive |
| VT-PS12DC-10 | Plugable AC/DC Adapter 100-240V/12VDC- 2.5A, stab., Cont. & UK Mains plug-ins |

Recommendations

| LACKIERUNG PTZ oder Panoramakamera | Extra charge for special paint PTZ dome or panoramic camera in RAL color |
| --- | --- |

Services