Specifications text

Article number

213271

Type

TPP-72A0030P0A

Short description

1/2.8" HD-TVI Dome, PTZ, 30x, Day&Night, 4.3-129mm, 1920x1080, WDR, Indoor

Main Features

Other Features (Specifications)

| Product labeling: |  |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| EDC-OPX/ HD-TVI | Connection wire Fastrax TPP-72A0030P0A Indoor / Outdoor housing |
| --- | --- |
| eneo EDC-IPC-2/24V | Pendant Mount Indoor Dome Housing with Clear Bubble 6.5", 24VAC |
| eneo EDC-OPC-2/24V | Pendant Mount Outdoor Dome Housing, Sun Shield, Clear Bubble 6.5", 24VAC |
| eneo EDC-OPS-2/24V | Pendant Mount Outdoor Dome Housing with Sunshield, Tinted Bubble 6.5", 24VAC |
| eneo MAM-5DC1004M0A | Distributor, 1x BNC Input HD-TVI, CVI, AHD, CVBS, 4x BNC Output |
| eneo MAM-5MM1001M0A | Converter, HD-CVI, HD-TVI, AHD, Composite to HDMI, VGA, Composite, Indoor |
| eneo TVA-1201TRA | UTP Transmitter+Receiver, UTP, BNC, 250m, Indoor, HD TVI CVI, AHD, CVBS, Active, 12V |
| eneo TVA-1201TRP | UTP Transmitter+Receiver, UTP, BNC, 150m, Indoor, HD TVI CVI, AHD, CVBS, Passive |
| MAM-5ME1001MTA | Multisignal Converter, HD-TVI , AHD, CVBS to IP, H.264, 1920x1080, 12VDC |

Recommendations

| eneo MAM-5DC1004M0A | Distributor, 1x BNC Input HD-TVI, CVI, AHD, CVBS, 4x BNC Output |
| --- | --- |
| PAINTING SERVICE PTZ dome or panoramic camera | in RAL color |
| SC-MFM07HD | Test Monitor, Multiformat, for Service, HD-TVI/CVI/AHD, HD-SDI, EX-SDI, FBAS, HDMI |
| SeeEyes SC-04MHD | Quad Splitter, 1920x1080, Composite, AHD, TVI, CVI Input Composite, HDMI, VGA Output |

Services