Specifications text

Article number

217346

Type

IER-25N080004A

Short description

Network Video Recorder, 8x IP, H.264, 64Mbps, w/o HDD, HDMI, 8x PoE

Main Features

8-channel network video recorder

Easy installation with eneo IP cameras

Compression method: H.264

Resolution IP cameras up to 5 megapixel

Remote Access: Control of additional recorders

Memory expandable via iSCSI and eSATA

CMS administration software included

Smartphone app for video monitoring / configuration

8x alarm input and 1x alarm output

8x PoE port (IEEE802.3af), total power 74W

Full HD 1920x1080 HDMI / VGA monitor output

Multilingual Graphic User Interface (GUI)

Other Features (Specifications)

| Manufacturer order number | 217346 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| CON-HDD eneo | HDD installation service note: only installation of shared disks |
| --- | --- |
| eneo Center | Remote Software IER-25xx, IER-28xx, IER-38xx, MSR-24xx, MSR-25xx, MER-Serie |
| eneo Center mobile | Mobile App for IER-25xx, IER- IER-28xx. IER-38xx, IEM-38xx MSR-24xx, MSR-25xx |
| HDD-2000SATA Purple | Hard Disk Drive 2TB, SATA, for eneo Video Recorders, expansion |
| HDD-3000SATA Purple | Hard Disk Drive 3TB, SATA, for eneo Video Recorders, expansion |
| HDD-4000SATA Purple | Hard Disk Drive 4TB, SATA, for eneo Video Recorders, expansion |
| HDD-6000SATA Purple | Hard Disk Drive 6TB, SATA, for eneo Video Recorders, expansion |
| HDD-8000SATA Purple | Hard Disk Drive 8TB, SATA, for eneo Video Recorders, expansion |
| IEM-38R640005A | 64-Channel Virtual Matrix for IER-, MSR-Series, H.264, H.265 640Mbps, w/o HDD, HDMI |
| KBD-2USB | System Keyboard with 3-Axis Joystick, Jog Shuttle, USB, RS-485, 12VDC, |

Recommendations

| ST10000VX0004 | Festplatte, 3,5", SATA 6Gb/s, 10TB, 256MB Cache, 24/7 Betrieb, R/V Sensor |
| --- | --- |

Services

| IER/PNR-KON4 | Configuration 1x PNR-53xx with 1-4 eneo IP Cameras |
| --- | --- |
| IER/PNR-KON8 | Configuration 1x PNR-53xx with 1-8 eneo IP Cameras |