Specifications text

Article number

208587

Type

VKCD-1329ASFM

Short description

1/3" Mini Dome, Fixed, clear, 3.6mm, 700TVL, 12VDC, Vandal resistant, Flush mount

Main Features

1/3" colour board camera with Super HAD CCD

Integrated lens F2.0/3.6mm

Resolution of 700 horizontal lines

Automatic shutter control

Digital signal processing (DSP)

Automatic white balance (ATW)

White-coloured aluminium die-cast casing

Clear Lexan bubble, 57mm

Easy indoor and outdoor installation (IP65)

For wall and in-ceiling mounting

Vandal resistant

Other Features (Specifications)

| Manufacturer order number | 208587 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| MAM-5ME1001MTA | Multisignal Converter, HD-TVI , AHD, CVBS to IP, H.264, 1920x1080, 12VDC |
| --- | --- |
| PS12DC-11 | Plug-in Power Supply Unit, 100-240VAC/12VDC (1,0A), regulated, with DC Plug |
| VT-PS12DC-11 | Stecker Netzgerät, 100-240VAC/12VDC (1,0A), stabilisiert, mit Hohlstecker |

Recommendations

Services