Specifications text

Article number

74125

Type

eneo EDC-AKS1

Short description

Power&Connection Box with Mounting Bracket for In/Outdoor, 230V-24VAC/3.0A

Main Features

Power & connection box

Input voltage: 230VAC

Output: 24VAC/3.0A

Signal, data and alarm loop-tru terminals inside

Weatherproof die-cast aluminium wall mount box

Box includes turnable mounting arm

Protection rating: IP66

Other Features (Specifications)

| General |  |
| --- | --- |
| Dimensions (WxHxD) (extended) | siehe Maßzeichnung |
| Temperature Range (Operating) | -40°C ~ +50°C |
| Parts supplied |  |
| Scope of delivery | Power & connection box,Fixing screw and tool set,manual |
| Product labeling: |  |
| Manufacturer order number | 74125 |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services