Specifications text

Article number

70527

Type

NE-132/AC24V

Short description

Power Supply Unit 230VAC/24VAC (1.0A)

Main Features

Power supply for ED(M)C dome camera series

Mains input: 230VAC/50Hz

Mains connection: 1.8m with 2 pin connector

Voltage output: 24VAC/1.0A +/-5%

Secondary: 2 pole cable with open ends

For indoor use only

Other Features (Specifications)

| Manufacturer order number | 70527 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services